ECEN 615	Problem Set #1						Fall 2018											       	Due 9/12/13

1. 	Use Newton-Raphson to find one solution to the polynomial equation 
f(x) = x3 - 9x2 - 14x - 30 = 0.  Start with an intial guess of 0 and continue until the mismatch is below a tolerance of ε  = 0.001.

2. 	The following nonlinear equations contain terms that are often found in the power flow equations:

f1(x) = 12 x1 sin x2 + 1.5 = 0

f2(x) = 12 (x1)2 - 12 x1 cos x2 + 0.75  = 0

Start with an initial guess of x1(0) = 1 and x2(0) = 0 radians, and a stopping criteria of ε = 10-4.

3.	Assume the below diagram models a balanced three-phase system in which a 120- + j60 MVA load (total for all three phases) is supplied at 69 kV (line-to-line). First, redraw the network using a per unit representation with a 100 MVA base, and a 69 kV voltage base for the load. How much real and reactive power is being supplied by the generator (source) on the left?

4.	In the space on the next page determine the bus admittance matrix (Ybus) for the following power system (note that some of the values have already been determined for you).  Except where noted otherwise, assume all values are per unit using a 100 MVA base.

Sample System					Line impedances and charging values

From/to	Impedance 	Line Charging

buses		     Zij		       Y/2

1-2	0.02 + j 0.06	j 0.030

1-3	0.08 + j 0.24	j 0.025

2-3	0.06 + j 0.18	j 0.020

2-4	0.08 + j 0.24	j 0.025

2-5	0.02 + j 0.06	j 0.010

3-4	0.04 + j 0.12	j 0.015

4-5	0.06 + j 0.18	j 0.020

Bus admittance matrix (Ybus)

| 6.25 - j 18.695 | -5.00 + j 15.00 | -1.25 + j 3.75 | 0 | 0 |
| --- | --- | --- | --- | --- |
| -5.00 + j 15.00 |  |  |  |  |

Now assume that a 0.5 per unit shunt resistance is added at bus 3 (i.e., on each phase a 0.5 per unit resistance is connected phase to ground).  Calculate the new value of y33:

y33 = ___________________        Do any other values of Ybus change?   __________

Now assume that a 75 Mvar (three phase) shunt capacitance is added at bus 4.  Calculate the new value of y44:

y44 = ______________________

5. Using PowerWorld Simulator and the case ECEN_615_HW1, give the bus numbers and circuit of two transmission lines that when opened cause at least one other line to be overloaded.