## Slide 1: ECEN 615 Methods of Electric Power Systems Analysis
Lecture 22: Linear Programming and Optimal Power Flow
Prof. Tom Overbye
Dept. of Electrical and Computer Engineering
Texas A&M University
overbye@tamu.edu

## Slide 2: Announcements
Read Chapters 3 and 8 from the book
Homework 5 is due on Thursday November 14
Second exam is in class on Nov 21
  Same format as with the first exam

## Slide 3: Aside: Matrix Singular Value Decomposition (SVD)
The SVD is a factorization of a matrix that generalizes the eigendecomposition to any m by n matrix to produce where S is a diagonal matrix of the singular values
The singular values are non-negative real numbers that can be used to indicate the major components of a matrix (the gist is they provide a way to decrease the rank of a matrix
A key application is image compression
The original concept is more than
100 years old, but has founds lots of recent applications

## Slide 4: Aside: SVD Image Compression Example
Image Source: www.math.utah.edu/~goller/F15_M2270/BradyMathews_SVDImage.pdf
Images can be represented with matrices. When an SVD is applied and only the largest singular values are retained the image is compressed.
Computationally the SVD is order m2n (with n  m)

## Slide 5: Aside: Pseudoinverse of a Matrix
The pseudoinverse of a matrix generalizes concept of a matrix inverse to an m by n matrix, in which m >= n
  Specifically this is a Moore-Penrose Matrix Inverse
Notation for the pseudoinverse of A is A+
Satisfies AA+A = A
If A is a square matrix, then A+ = A-1
Quite useful for solving the least squares problem since the least squares solution of Ax = b is x = A+ b
Can be calculated using an SVD

## Slide 6: Least Squares Matrix Pseudoinverse Example
Assume we wish to fix a line (mx + b = y) to three data points: (1,1), (2,4), (6,4)
Two unknowns, m and b; hence x = [m b]T
Setup in form of Ax = b

## Slide 7: Least Squares Matrix Pseudoinverse Example, cont.
Doing an economy SVD
Computing the pseudoinverse
In an economy SVD the S matrix has dimensions of m by m if m < n or n by n if n < m

## Slide 8: Least Squares Matrix Pseudoinverse Example, cont.
Computing x = [m b]T gives
With the pseudoinverse approach we immediately see the sensitivity of the elements of x to the elements of b
  New values of m and b can be readily calculated if y changes
Computationally the SVD is order m2n (with n  m)

## Slide 9: Quick Coverage of Linear Programming
LP is probably the most widely used mathematical programming technique
It is used to solve linear, constrained minimization (or maximization) problems in which the objective function and the constraints can be written as linear functions
8

## Slide 10: Example Problem 1
Assume that you operate a lumber mill which makes both construction-grade and finish-grade boards from the logs it receives. Suppose it takes 2 hours to rough-saw and 3 hours to plane each 1000 board feet of construction-grade boards. Finish-grade boards take 2 hours to rough-saw and 5 hours to plane for each 1000 board feet. Assume that the saw is available 8 hours per day, while the plane is available 15 hours per day. If the profit per 1000 board feet is $100 for construction-grade and $120 for finish-grade, how many board feet of each should you make per day to maximize your profit?
9

## Slide 11: Problem 1 Setup
Notice that all of the equations are linear, but they are inequality, as opposed to equality, constraints; we are seeking to determine the values of x1 and x2
10

## Slide 12: Example Problem 2
A nutritionist is planning a meal with 2 foods: A and B. Each ounce of A costs $ 0.20, and has 2 units of fat, 1 of carbohydrate, and 4 of protein. Each ounce of B costs $0.25, and has 3 units of fat, 3 of carbohydrate, and 3 of protein. Provide the least cost meal which has no more than 20 units of fat, but with at least 12 units of carbohydrates and 24 units of protein.
11

## Slide 13: Problem 2 Setup
Again all of the equations are linear, but they are inequality, as opposed to equality, constraints; we are again seeking to determine the values of x1 and x2; notice there are also more constraints then solution variables
12

## Slide 14: Three Bus Case Formulation
For the earlier three bus system given the initial condition of an overloaded transmission line, minimize the cost of generation such that the change in generation is zero, and the flow on the line between buses 1 and 3 is not violating its limit
Can be setup consider- ing the change in generation, (DPG1, DPG2, DPG3)
13

## Slide 15: Three Bus Case Problem Setup
Line flow constraint
Power balance constraint
14

## Slide 16: LP Standard Form
Maximum problems can be treated as minimizing the negative
The previous examples were not in this form!
15

## Slide 17: Replacing Inequality Constraints with Equality Constraints
The LP standard form does not allow inequality constraints
Inequality constraints can be replaced with equality constraints through the introduction of slack variables, each of which must be greater than or equal to zero
Slack variables have no cost associated with them; they merely tell how far a constraint is from being binding, which will occur when its slack variable is zero
16

## Slide 18: Lumber Mill Example with Slack Variables
Let the slack variables be x3 and x4, so
Minimize the negative
17

## Slide 19: LP Definitions
AB is called the basis matrix
18

## Slide 20: Fundamental LP Theorem
Given an LP in standard form with A of rank m then
  If there is a feasible solution, there is a basic feasible solution
  If there is an optimal, feasible solution, then there is an optimal, basic feasible solution
Note, there could be a LARGE number of basic, feasible solutions
  Simplex algorithm determines the optimal, basic feasible solution usually very quickly
19

## Slide 21: LP Graphical Interpretation
The LP constraints define a polyhedron in the solution space
  This is a polytope if the polyhedron is bounded and nonempty
  The basic, feasible solutions are vertices of this polyhedron
  With the linear cost function the solution will be at one of vertices
20
Image: Figure 3.26 from course text

## Slide 22: Simplex Algorithm
The key is to move intelligently from one basic feasible solution (i.e., a vertex) to another, with the goal of continually decreasing the cost function
The algorithm does this by determining the “best” variable to bring into the basis; this requires that another variable exit the basis, while always retaining a basic, feasible solution
This is called pivoting
21

## Slide 23: Determination of Variable to Enter the Basis
To determine which non-basic variable should enter the basis (i.e., one which currently 0), look at how the cost function changes w.r.t. to a change in a non-basic variable (i.e., one that is currently zero)
22
Elements of xn are all zero, but we are looking to change one to decrease the cost

## Slide 24: Determination of Variable to Enter the Basis
Define the reduced (or relative) cost coefficients as
Elements of this vector tell how the cost function will change for a change in a currently non-basic variable
The variable to enter the basis is usually the one with the most negative relative cost
If all the relative costs are nonnegative then we are at an optimal solution
23
r is an n-m dimensional row vector

## Slide 25: Determination of Variable to Exit Basis
The new variable entering the basis, say a position j, causes the values of all the other basic variables to change. In order to retain a basic, feasible solution, we need to insure no basic variables become negative. The change in the basic variables is given by
24

## Slide 26: Determination of Variable to Exit Basis
25

## Slide 27: Canonical Form
The Simplex Method works by having the problem in what is known as canonical form
Canonical form is defined as having the m basic variables with the property that each appears in only one equation, its coefficient in that equation is unity, and none of the other basic variables appear in the same equation
Sometime canonical form is readily apparent
26
Note that with x3 and x4 as basic variables AB is the identity matrix

## Slide 28: Canonical Form
Other times canonical form is achieved by initially adding artificial variables to get an initial solution
Example of the nutrition problem in canonical form with slack and artificial variables (denoted as y) used to get an initial basic feasible solution
27
Note that with y1, y2, and y3 as basic variables AB is the identity matrix

## Slide 29: LP Tableau
With the system in canonical form, the Simplex solution process can be illustrated by forming what is known as the LP tableau
  Initially this corresponds to the A matrix, with a column appended to include the b vector, and a row added to give the relative cost coefficients; the last element is the negative of the cost function value
  Define the tableau as Y, with elements Yij
  In canonical form the last column of the tableau gives the values of the basic variables
During the solution the tableau is updated by pivoting
28

## Slide 30: LP Tableau for the Nutrition Problem with Artificial Variables
When in canonical form the relative costs vector is
The initial tableau for the artificial problem is then
29
Note the last column gives the values of the basic variables

## Slide 31: LP Tableau Pivoting
Pivoting is used to move from one basic feasible solution to another
  Select the pivot column (i.e., the variable coming into the basis, say q) as the one with the most negative relative cost
  Select the pivot row (i.e., the variable going out of the basis) as the one with the smallest ratio of xi/Yiq for Yiq >0; define this as row p (xi is given in the last column)
30

## Slide 32: LP Tableau Pivoting for Nutrition Problem
Starting at
Pivot on column q=2; for row get minimum of {20/3, 12/3, 24/3), which is row p=2
31

## Slide 33: LP Tableau Pivoting
Pivoting on element Ypq is done by
  First dividing row p by Ypq to change the pivot element to unity.
  Then subtracting from the kth row Ykq/Ypq times the pth row for all rows with Ykq <> 0
32
I’m only showing fractions with two ROD digits

## Slide 34: LP Tableau Pivoting, Example, cont.
Next pivot on column 1, row 3
Which gives
33

## Slide 35: LP Tableau Pivoting, Example, cont.
34
Next pivot on column 3, row 1
Which gives
Since there are no
negative relative costs we are done with getting a starting solution

## Slide 36: LP Tableau Full Problem
The tableau from the end of the artificial problem is used as the starting point for the actual solution
  Remove the artificial variables
  Update the relative costs with the costs from the original problem and update the bottom right-hand corner value
Since none of the relative costs are negative we are done with x1=4, x2=2.7 and x3=4
35

## Slide 37: Marginal Costs of Constraint Enforcement
36
The marginal costs will be used to determine the OPF locational marginal costs (LMPs)

## Slide 38: Nutrition Problem Marginal Costs
In this problem we had basic variables 1, 2, 3; nonbasic variables of 4 and 5
37
There is no marginal cost with the first constraint since it is not binding; values tell how cost changes if the b values were changed

## Slide 39: Lumber Mill Example Solution
Economic interpretation of l is the profit is increased by 35 for every hour we up the first constraint (the saw) and by 10 for every hour we up the second constraint (plane)
38

## Slide 40: Complications
Often variables are not limited to being  0
  Variables with just a single limit can be handled by substitution; for example if x  5 then x-5=z  0
  Bounded variables, high  x  0 can be handled with a slack variable so x + y = high, and x,y  0
Unbounded conditions need to be detected (i.e., unable to pivot); also the solution set could be null
39

## Slide 41: Complications
Degenerate Solutions
  Occur when there are less than m basic variables > 0
  When this occurs the variable entering the basis could also have a value of zero; it is possible to cycle, anti-cycling techniques could be used
Nonlinear cost functions
  Nonlinear cost functions could be approximated by assuming a piecewise linear cost function
Integer variables
  Sometimes some variables must be integers; known as integer programming; we’ll discuss after some power examples
40

## Slide 42: LP Optimal Power Flow
LP OPF was introduced in
  B. Stott, E. Hobson, “Power System Security Control Calculations using Linear Programming,” (Parts 1 and 2) IEEE Trans. Power App and Syst., Sept/Oct 1978
  O. Alsac, J. Bright, M. Prais, B. Stott, “Further Developments in LP-based Optimal Power Flow,” IEEE Trans. Power Systems, August 1990
It is a widely used technique, particularly for real power optimization; it is the technique used in PowerWorld
41